| CAPA QUICK REFERENCE CARD | ISO 13485 ¦ FDA 820.100 ¦ EU MDR |
| --- | --- |

| 📋 CAPA PROCESS FLOW 1. INITIATE • Open CAPA, assign #, owner • Classify priority & source. ▼. 2. CONTAIN • Stop the bleeding! • Quarantine, notify, assess scope. ▼. 3. INVESTIGATE • Gather data & evidence • Root Cause Analysis (5-Why). ▼. 4. CORRECT & PREVENT • Implement actions • Horizontal deployment. ▼. 5. VERIFY & CLOSE • Effectiveness check (30-90 days) • Management Review & closure. | ⏱️ PRIORITY & TIMELINES CRITICAL; Patient safety → 30 days. HIGH; Regulatory/Major → 60 days. MEDIUM; Moderate impact → 90 days. LOW; Minor/Improvement → 120 days. 🔍 5-WHY QUICK GUIDE Problem: Wrong label on product. Why 1? Operator selected wrong template Why 2? Templates have similar names Why 3? No naming convention Why 4? Process never standardized Why 5? No SOP exists. → ROOT CAUSE: Missing SOP for template management. | 📥 CAPA SOURCES ☐ Customer Complaint. ☐ Internal Audit. ☐ External Audit. ☐ Nonconformance / NC. ☐ PMS / Vigilance. ☐ Supplier Issue. ☐ Process Deviation. ☐ Management Review. ⭐ GOLDEN RULES ✗ "Human error" is NEVER a root cause! Ask WHY the error occurred. ✓ Root cause must be ACTIONABLE You can fix it with a specific action. ✓ Evidence over assumptions Base conclusions on DATA. ✓ Verify effectiveness BEFORE closing Wait 30-90 days, measure results. |
| --- | --- | --- |

QCore Consulting ¦ qcore-consulting.de ¦ Compliant with ISO 13485:2016 §8.5.2-8.5.3 and FDA 21 CFR 820.100